Evaluation requirements for medical equipment

at the Royal Medical Services

- Offers not complying with any of the special terms or the technical specifications shall be considered non-conforming with tender requirements.

- Any vendor providing FORGED documents shall be disqualified from the current tender and banned from participating in any future RMS tenders.

- Wherever term “based” is mentioned it refers to the country where the manufacturing company is founded & established.

- Required information:

- Contact name and phone number:

- Name of local agent:

- Name of Manufacturer:

- Model/ Catalogue number:

- Country of origin for the offered model:

- Country where the manufacturer is based:

- Date Launched (release date):

- Date of last upgrade/ update:

- Indication for use for the offered system:

- Brief description of the offered system:

- Suggested evaluation sites/ specialization:

- Suggested period for evaluation for each site/ specialization:

- Suggested patient population:

- Suggested quantities offered for evaluation:

- Installation base for the specific model offered for evaluation:

- Relevant published articles:

- Required certificates (must be submitted with the technical offer):

- FDA clearance (510K) for equipment of USA based companies.

- MDR (EU) 2017/745 certificate for equipment of EU (European Union) based companies.

- UKCA certificate For Equipment of Great Britain based companies (England, Scotland, Northern Ireland, and Wales).

- ARTG (Australian Register of Therapeutic Goods) certification or approval for Australian and New Zealand based companies.

- Establishment License with the relevant Device License issued by the Therapeutic Products Directorate for Equipment of Canadian based companies.

- PMDA (Pharmaceuticals and Medical Devices Agency) certification or approval for equipment of Japanese based companies.

- Swissmedic (Swiss agency for therapeutic products) certification or approval for equipment of Swiss based companies.

- Norwegian Medicines Agency certification or approval for equipment of Norwegian based companies.

- Only for class Ι medical equipment manufactured by companies based in one of the countries mentioned above, submission of either one of the certificates mentioned above or a free sale certificate in any of these countries shall be accepted.

- For the following equipment:

- All X-ray equipment, MRI, ultrasound, and nuclear medicine systems (regardless where the manufacturing companies are based).

- Where the manufacturing companies are based in other origins than the mentioned in terms 2.1 - 2.8.

At least two of the certificates mentioned above, one of which has to be FDA clearance (510K) (Only for class Ι medical equipment submission of certificates mentioned in 2.9 shall be accepted).

- The vendor is responsible to ensure through official  documents that classified medical devices are manufactured in conformity with applicable quality system standards (ISO, IEC); (the international quality systems standard for medical device manufacturing ISO 13485) or ISO9001.

- With each offer, bidders must provide a formally endorsed document issued by the manufacturer stating that the bidder is the sole certified agent for the offered item.

- In all of the above cases (except 2.12) certificates must be formally endorsed by JFDA.

- Any vendor not submitting all required certificates will be eliminated.

- The RMS has the right to determine the period or number of cases for the evaluation process.

- Evaluation requests must include a priced list for accessories and consumables.

- Where applicable, accessories and consumable items must be provide with each system on free of charge basis for the complete duration of the evaluation process/ the total number of patients/ cases or samples agreed upon evaluation.

- Vendor must provide full technical and user specialist support for offered systems during the period of evaluation.

- DRMS is not liable for any mishap/ damage that may occur during the evaluation process.

- Where applicable, vendor is responsible for all pre-installation requirements that are necessary for the evaluation process.

- Vendors must ensure the removal of evaluated systems from the evaluation sites at the end of the granted evaluation period.

- The Royal Medical Services has the right to terminate the evaluation process without any prior notice if the item under evaluation cannot be utilized in the desired manner.

- For equipment that need consumables, consumables that are necessary for operating the system must be evaluated separately at medical consumables department.

- A fee of (500) JD should be paid for each type of equipment provided for the evaluation after the approval of the committee to accept the evaluation.